Deep Learning-Based Detection of

Referable Diabetic Retinopathy and

Diabetic Macular Edema Using UWF Fundus Imaging

Research Papers Summary

Rohan S M — 1WN24CS232 Sakshi Hegde — 1WN24CS241 Satwik G J — 1WN24CS254 Sharanya — 1WN24CS259

Guide: Prof.Nishmita K

Department of Computer Science & Engineering

B.M.S. College of Engineering

A Low-Cost AI-Powered System for Early Detection of Diabetic Retinopathy and Ocular Diseases in Resource Limited Settings

Vohra et al., 2025, IEEE Access

Methodology: Utilizes a custom Convolutional Neural Network (CNN) architecture for multi-disease classification (Diabetic Retinopathy, Glaucoma, Age-related Macular Degeneration). The system integrates a low-cost imaging setup (28D lens and IMX291 camera connected to ESP32) for fundus image capture and a cloud-based web application hosted on AWS for automated diagnosis and report generation. Data augmentation is used to improve model generalization.

Dataset: Details of the dataset used for model training are provided in Table 3.

Advantages: Cost-effective imaging setup, high diagnostic accuracy (96.5% overall), multi-disease detection capability, portable, scalable, and affordable, user-friendly web application for seamless image upload, diagnosis, and report generation, and cloud-based accessibility for resource-limited settings.

Limitations: The literature review section points out that previous models often focused on single-disease detection, relied on expensive hardware, or lacked diverse datasets and clinical validation. While the proposed system aims to address these, specific limitations of this particular system in terms of external validation across diverse populations, or explainability techniques for clinicians, were not explicitly detailed as weaknesses of their proposed solution, but rather as gaps in prior research that their system seeks to improve upon.

Results: Achieved an overall accuracy of 96.5% on the test set. F1-scores: 98.2% for DR, 92.5% for Glaucoma, and 98.8% for AMD. Precision: 97.5% for AMD, 93.9% for Glaucoma, and 95.8% for DR. Specificity: 96.9% for AMD, 93.2% for Glaucoma, and 95.1% for DR.

A Novel Transformer Model with Multiple Instance Learning for Diabetic Retinopathy Classification

Yang et al., 2024, IEEE Access

Methodology: A novel Transformer model with multiple instance learning (TMIL) is proposed. It segments high-resolution retinal images into 224x224 patches, uses Vision Transformer (ViT) to extract features from each patch, and then employs a Global Instance Computing Block (GICB) to calculate inter-instance features.

Dataset: APTOS dataset and Messidor-1 dataset.

Advantages: Efficiently utilizes high-resolution retinal images without loss of valuable information due to resolution reduction. Can load pre-trained weights of Transformer without being affected by weight interpolation. Achieves better classification performance and reduces inference time by 62% compared to directly inputting high-resolution images into ViT. Shows the highest classification accuracy compared to current state-of-the-art results.

Limitations: Still has a false-negative rate exceeding 30%, especially for DR levels 1 and 4, which could be improved with image augmentation.

Results: On the APTOS dataset, the model achieves an average accuracy of 85.6%, an average Area Under Curve (AUC) of 95.6%, an average Kappa score of 91.5%, and an average sensitivity of 73.7% for five-level DR classification. On the Messidor-1 dataset, it achieves an average accuracy of 93.1%, an average AUC of 97.4%, and an average sensitivity of 86.9% for referable DR classification.

A Synergistic Stacked Ensemble Deep Learning Model for Predicting Diabetic Retinopathy Severity
 Salluri et al., 2025, IEEE Access

Methodology: Stacked ensemble framework combining three deep learning backbones: ConvNeXt-L, EfficientNetV2-L, and Swin-B Transformer. Images were resized to 512×512, center-cropped, and augmented with random flips, rotations, and brightness adjustments. The model uses out-of-fold (OOF) predictions generated through 3-fold and 5-fold cross-validation, which are concatenated and fed into a neural-network meta-learner (Dense 128 → BatchNorm → Dense 64 → Dropout → Softmax). This leakage-free stacking strategy leverages complementary CNN and Transformer representations.

Dataset: APTOS 2019 Blindness Detection dataset (3,662 fundus images from 1,831 patients) and the Kaggle EyePACS 2015 Diabetic Retinopathy Detection dataset (35,126 images used in this study). Patient-level stratified cross-validation was employed to prevent data leakage.

Advantages: Combines local lesion detection and global contextual modeling through diverse architectures, achieving higher accuracy and Quadratic Weighted Kappa (QWK) than any individual model. The OOF-based stacking design reduces information leakage and improves generalization across datasets. Cross-dataset testing on EyePACS demonstrated good external validity (94.6% accuracy, 0.92 Cohen’s Kappa).

Limitations: Computationally expensive, with 423.5 million parameters and 87.6 GFLOPs. Training required GPU resources and peak GPU memory usage of 19.8 GB. Inference latency was 52 ms/image on GPU and 296 ms/image on CPU. The model is substantially heavier than single-backbone approaches and may be difficult to deploy in highly resource-constrained settings without compression techniques.

Results: The ensemble achieved 97.9% accuracy and QWK ≈ 0.97 on the APTOS dataset and 98.2% accuracy and QWK ≈ 0.97 on the Kaggle dataset, outperforming all individual backbone models.

An Insight on the Timely Diagnosis of Diabetic Retinopathy Using Traditional and AI-Driven Approaches
Malaika Asif et al., 2025, IEEE Access

Methodology: Systematic literature review (SLR) following the PRISMA framework to evaluate traditional diabetic retinopathy (DR) screening methods and AI-driven approaches, including machine learning (ML), deep learning (DL), federated learning (FL), and explainable AI (XAI). The review analyzed studies using retinal fundus and OCT images and assessed diagnostic performance, privacy considerations, interpretability, and clinical applicability.

Dataset: The review included 116 studies identified from databases such as PubMed, IEEE Xplore, ScienceDirect, Springer, and MDPI, covering publications up to February 2024. The surveyed studies used major DR datasets including EyePACS, Kaggle DR, Messidor, Messidor-2, IDRiD, DIARETDB1, DRIVE, STARE, and OCTA.

Advantages: Provides a comprehensive overview of both traditional and AI-based DR detection methods. Highlights the strengths of deep learning for automated feature extraction, federated learning for privacy-preserving collaboration, and explainable AI for improving clinician trust and interpretability. The review also identifies key datasets, evaluation metrics, and future research directions.

Limitations: Many reviewed studies exhibited a high risk of bias due to inadequate reporting and heterogeneous methodologies. AI systems still face challenges related to dataset bias, limited diversity, interpretability, privacy concerns, infrastructure requirements, and lack of extensive real-world clinical validation.

Results: Across the reviewed literature, deep learning methods generally achieved diagnostic accuracies above 90% with AUC-ROC values up to 0.98, outperforming traditional and classical machine-learning methods. Federated learning approaches achieved competitive performance (typically 88–93% accuracy) while preserving patient privacy, and XAI-enabled systems reported accuracies as high as 98.45%, sensitivity of 98.67%, and specificity of 98.12%.

Application of Artificial Intelligence for Classification, Segmentation, Early Detection, Early Diagnosis, and Grading of Diabetic Retinopathy From Fundus Retinal Images: A Comprehensive Review
G. Rajarajeshwari and G. Chemmalar Selvi, 2024, IEEE Access.

Methodology: This study presents a comprehensive review of Artificial Intelligence (AI) techniques for diabetic retinopathy (DR), covering five major applications: classification, segmentation, early detection, early diagnosis, and severity grading. It analyzes machine learning (ML), deep learning (DL), transfer learning, and explainable AI (XAI) approaches, along with preprocessing techniques, benchmark datasets, and performance metrics.

Dataset: The review summarizes widely used public datasets including EyePACS, APTOS 2019, MESSIDOR, IDRiD, DIARETDB1, DRIVE, STARE, CHASE_DB1, HRF, OCTA, and ODIR for DR research and evaluation.

Advantages: Provides a detailed comparison of AI-based DR methods, highlights benchmark datasets and evaluation metrics, discusses real-world case studies, and emphasizes the role of Explainable AI (XAI) in improving model transparency and clinical adoption.

Limitations: Challenges include dataset imbalance, image-quality variations, limited clinical validation, model overfitting, long training times, and difficulties in generalizing models across different populations and imaging environments.

Results: The review reports that advanced AI and deep learning models have achieved accuracy levels often exceeding 95%, with some approaches reaching 98–99% accuracy for diabetic retinopathy detection, classification, diagnosis, and grading tasks. It concludes that AI significantly improves DR screening and diagnosis but requires further work on robustness, explainability, and multimodal data integration.

Automated Multimodal Severity Assessment of Diabetic Retinopathy Using Ultra-Widefield Color Fundus Photography and Clinical Tabular Data

Alireza Rezaei et al., 2026, Biomedical Signal Processing and Control, Volume 112.

Methodology: This study proposes a multimodal deep learning framework that combines Ultra-Widefield Color Fundus Photography (UWF-CFP) with clinical tabular data to classify diabetic retinopathy (DR) severity. Pretrained ResNet architectures, including ResNet34, ResNet50, and ResNet101, extract image features, while tabular classifiers process clinical information. The best-performing approach, MLPResNet50, uses a Multi-Layer Perceptron (MLP) for clinical data and ResNet50 for retinal images. Intermediate fusion combines both feature representations before final classification. Grad-CAM, Integrated Gradients, and SHAP are used to interpret model predictions and identify influential image regions and clinical features.

Dataset: The primary dataset is EVIRED, containing approximately 3,200 ultra-widefield retinal images from 1,031 patients, alongside 76 demographic, clinical, and biochemical features. Images are graded into six classes, including no DR, mild, moderate or severe non-proliferative DR, proliferative DR, and a separate class for patients who received panretinal photocoagulation (PRP). External validation uses the BRSET and mBRSET datasets to evaluate generalizability across different populations and imaging conditions.

Advantages: Integrating image and clinical information improves classification compared with using retinal images alone. Ultra-widefield photography captures peripheral retinal lesions, while the 76 clinical features provide additional information about systemic health and disease progression. The model also supports interpretability through visual heatmaps and clinical feature importance analysis. External evaluation on BRSET and mBRSET further demonstrates the benefits of multimodal fusion.

Limitations: The EVIRED dataset contains relatively few proliferative DR (PDR) cases, resulting in weaker and inconsistent classification for this severity grade. The study uses images from a single device, CLARUS 500, limiting established compatibility with other imaging systems. Potential population biases may also affect generalization. Additionally, the EVIRED dataset is confidential, and the study does not yet incorporate previous examinations to predict disease progression.

Results: The best-performing MLPResNet50 fusion model achieves 63.4% multiclass accuracy and a quadratic weighted kappa of 0.807 on EVIRED, improving accuracy by 2.1 percentage points and kappa by 0.022 over the image-only ResNet50 classifier. On BRSET, fusion achieves 65.9% accuracy compared with 64.2% for image-only classification; on mBRSET, it achieves 63.2% compared with 62.0%. The findings support combining ultra-widefield retinal imaging with clinical data to improve diabetic retinopathy severity assessment.

Deep Learning Ensemble for Predicting Diabetic Macular Edema Onset Using Ultra-Wide Field Color Fundus Image

Pengyao Qin et al., 2024, arXiv preprint.

Methodology: This study proposes an ensemble-based deep learning framework to predict the onset of center-involved diabetic macular edema (ci-DME) within 12 months using Ultra-Wide Field Color Fundus Photography (UWF-CFP). Four convolutional neural network architectures—ResNet, DenseNet, EfficientNet, and VGG—are evaluated to identify the best-performing models. Image preprocessing includes resizing to 224 × 224 pixels, grayscale conversion, normalization, random horizontal and vertical reflections, and rotation. Three ensemble strategies are investigated: plurality voting, probability averaging, and label fusion using a three-layer neural network. Model performance is evaluated using Area Under the Curve (AUC), F1-score, and Expected Calibration Error (ECE).

Dataset: The study uses data from the DIAMOND Challenge, associated with the EVIRED project involving 14 hospitals in France. During model development, a synthetic dataset generated from the Deep Diabetic Retinopathy Image Dataset (DeepDRiD) is provided, containing 204 UWF-CFP images, with 154 images for training and 50 for validation. Additional real patient images captured using OPTOS and CLARUS devices support development, while independent datasets from Algeria and French hospitals are used for evaluation. The objective is to predict whether a patient will develop ci-DME within one year based on retinal fundus images.

Advantages: The ensemble approach combines predictions from multiple deep learning architectures to improve robustness and generalizability. It addresses the limitations of individual models and supports early identification of patients at risk of ci-DME. The use of UWF-CFP enables broader retinal coverage, while evaluation across different imaging devices and populations supports the potential for wider clinical applicability. Predictive screening may also help guide early intervention and reduce unnecessary referrals.

Limitations: The study relies primarily on synthetic data during initial model training, which may not adequately represent real-world retinal variations and challenging clinical cases. Differences in image resolution, field of view, and artifacts across OPTOS and CLARUS devices can affect prediction performance. The ensemble model also performs slightly worse than the best individual model, DenseNet-121, on the reported internal evaluation. Furthermore, fundus photography cannot replace Optical Coherence Tomography (OCT), the clinical standard for diagnosing ci-DME.

Results: DenseNet-121 achieves the highest individual model score, with an AUC of 0.7617 and an F1-score of 0.7347. Among the ensemble methods, label fusion achieves the highest overall score of 1.4343, with an AUC of 0.7017, an F1-score of 0.6512, and an ECE of 0.2860, as reported in Table 2 on page 7. Although the ensemble does not surpass the best individual model on the internal evaluation, the authors highlight its potential for improved generalizability across diverse datasets and imaging devices, supporting future development of early ci-DME prediction systems.

Deep Learning in Automatic Diabetic Retinopathy Detection and Grading Systems: A Comprehensive Survey and Comparison of Methods
Israa Y. Abushawish et al., 2024, IEEE Access

Methodology: Comprehensive survey of deep learning approaches for diabetic retinopathy (DR) detection and grading, followed by an experimental comparison of 26 pre-trained CNN models using transfer learning. The study evaluated architectures including DenseNet, EfficientNet, ResNet, MobileNet, VGG, Inception, NASNet, and Xception. Images were augmented using rotation, zooming, shearing, shifting, and horizontal flipping. The authors also employed Grad-CAM to visualize model decision-making and assess interpretability.

Dataset: The experimental evaluation used two major public datasets: APTOS 2019 Blindness Detection (3,662 retinal images) and EyePACS/DRR (32,126 resized training images from EyePACS). The survey additionally reviewed other commonly used datasets such as Messidor, IDRiD, and DDR.

Advantages: Provides a large-scale comparison of modern transfer learning architectures for DR grading. Evaluates cross-dataset generalization, examines preprocessing and augmentation strategies, and incorporates Grad-CAM for model interpretability. The study identifies computationally efficient architectures suitable for deployment.

Limitations: Cross-dataset performance remains challenging due to dataset variability, class imbalance, and differences in preprocessing. Models that perform well on their training dataset often experience significant drops in performance on unseen datasets. The study found that class imbalance and image-quality differences negatively affect generalization.

Results: Among the 26 evaluated transfer-learning models, DenseNet201 achieved the highest validation accuracy (81.76%) on the DRGF dataset. MobileNetV2 was selected as the most computationally efficient architecture and achieved 78% accuracy for binary DR detection and 75% accuracy for DR grading when tested on the external DRR dataset. The study concluded that transfer learning can be effective, but cross-dataset deployment remains a significant challenge.

Detection of Diabetic Retinopathy Using a Multi-Decision Inception-ResNet-Blended Hybrid Model

Santosh Kumar Henge et al., 2025, IEEE Access.

Methodology: This study proposes a multi-decision Inception-ResNet blended hybrid model for detecting and grading diabetic retinopathy (DR). It combines deep learning, convolutional neural networks (CNNs), and multilayer transfer learning using 172 weighted layers. The model processes color and grayscale fundus images separately, integrates extracted features, and applies classification and regression techniques to identify DR severity.

Dataset: The study uses public retinal fundus image datasets, including EyePACS and APTOS, to train and evaluate the model. Images are resized to 312 × 312 pixels and undergo preprocessing, normalization, and augmentation techniques such as rotation, zooming, trimming, and flipping.

Advantages: Combines color and grayscale image features, supports five-stage DR classification, uses transfer learning to improve feature extraction, and applies multiple decision mechanisms to enhance detection performance.

Limitations: The 172-layer architecture requires considerable computational resources, memory, and training time. Performance may decline with variations in image quality, imaging conditions, or patient demographics. Further validation on independent datasets is necessary to establish generalizability and clinical suitability.

Results: The proposed hybrid model achieves 98.1% detection accuracy, outperforming the comparison models reported in the study. It classifies retinal images into five categories: normal, mild, moderate, severe, and proliferative DR. The study highlights the potential of dual-image deep learning for accurate DR detection while identifying computational efficiency and external validation as important challenges.

Developing a Transparent Diagnosis Model for Diabetic Retinopathy Using Explainable AI

Tariq Shahzad et al., 2024, IEEE Access, Volume 12, pp. 149700–149709.

Methodology: This study proposes an Explainable Artificial Intelligence (XAI)-based diagnostic model for detecting diabetic retinopathy (DR). It addresses the black-box nature of traditional AI models by improving interpretability and helping clinicians understand the reasoning behind diagnostic predictions. The study also examines convergence history plots to evaluate the model's learning process and improve diagnostic reliability.

Dataset: The provided PDF record does not specify the dataset name, image count, or dataset composition. The research focuses on diagnosing DR from retinal fundus images and improving the interpretability of AI-based predictions.

Advantages: Improves model transparency, provides understandable diagnostic insights, supports clinical decision-making, and addresses concerns about bias and inconsistency in conventional retinal image interpretation. Explainability can also help healthcare professionals build trust in AI-assisted diagnosis.

Limitations: The provided document does not specify detailed dataset-related limitations, computational requirements, or independent clinical validation results. Although explainability improves transparency, further evidence is needed to establish the model's generalizability and reliability across diverse patient populations and clinical settings.

Results: The authors report 94% better diagnostic accuracy than traditional methods, alongside improved interpretability, applicability in healthcare settings, and reduced loss. The study demonstrates the potential of explainable AI to support more transparent DR diagnosis, although the reported improvement should not be interpreted as an absolute accuracy of 94%.

Diabetic Retinopathy Classification Using Hybrid Color-Based CLAHE and Blood Vessel in Deep Convolution Neural Network

Ammar Jawad Kadhim et al., 2024, IEEE Access, Volume 12.

Methodology: This study proposes a hybrid deep learning approach combining color-based Blood Vessel (BV) segmentation and Contrast-Limited Adaptive Histogram Equalization Top-Hat (CLAH-TH) segmentation for diabetic retinopathy (DR) classification. The extracted features are combined and processed using pretrained VGG19 and InceptionV3 convolutional neural networks with transfer learning. Data augmentation techniques are applied to address class imbalance and improve classification performance.

Dataset: The study uses the Kaggle Diabetic Retinopathy dataset, containing 35,126 retinal fundus images categorized into five classes: no DR, mild, moderate, severe, and proliferative DR. Image augmentation techniques, including flipping, rotation, and translation, are used to balance the classes.

Advantages: Combines complementary retinal features, improves blood vessel visibility and image contrast, compares multiple pretrained CNN architectures, and enhances classification performance through feature fusion and data augmentation.

Limitations: Dataset imbalance and variations in retinal image quality remain challenges. The approach involves multiple preprocessing and feature extraction stages, increasing implementation complexity. Further evaluation on independent datasets is necessary to establish generalizability across different imaging conditions.

Results: The proposed method achieves 96.7% accuracy, 97.1% sensitivity, and 98.1% specificity using the pretrained VGG19 model with combined features. The results demonstrate that integrating blood vessel segmentation with CLAH-TH features improves five-class DR grading compared with using individual features.

Diabetic Retinopathy Classification With Deep Learning via Fundus Images: A Short Survey

Shanshan Zhu, Changchun Xiong, Qingshan Zhong, and Yudong Yao, 2024, IEEE Access, Volume 12.

Methodology: This study presents a comprehensive survey of deep learning techniques for diabetic retinopathy (DR) classification using retinal fundus images. It reviews 94 research articles published between 2018 and 2023, examining image preprocessing, deep learning architectures, binary classification for DR diagnosis, and multiclass classification for severity grading. It also analyzes recent developments, existing challenges, and future research directions.

Dataset: The survey examines publicly available datasets, including EyePACS, APTOS 2019, MESSIDOR, MESSIDOR-2, DIARETDB1, IDRiD, DDR, and E-Ophtha. EyePACS contains 88,702 fundus images, while APTOS 2019 and other datasets support different DR classification and lesion detection tasks.

Advantages: Provides a systematic overview of DR classification research, compares commonly used datasets and deep learning architectures, explains preprocessing techniques such as CLAHE and data augmentation, and identifies transfer learning as an effective strategy for addressing limited training data.

Limitations: Challenges include insufficient labeled medical images, dataset imbalance, inconsistent image quality, differences in expert annotations, limited model interpretability, and difficulties integrating deep learning systems into clinical workflows. Building reliable, cost-effective screening systems remains an important research challenge.

Results: The survey finds that CNN architectures such as ResNet and VGGNet are widely used, while EyePACS and APTOS 2019 are among the most popular datasets. Transfer learning helps overcome limited data availability, and lightweight architectures such as SqueezeNet and MobileNet offer alternatives for resource-constrained environments. Despite strong classification performance, further improvements in interpretability, clinical trust, and real-world validation are needed.

EffNet-SVM: A Hybrid Model for Diabetic Retinopathy Classification Using Retinal Fundus Images

K. V. Naveen et al., 2025, IEEE Access, Volume 13.

Methodology: This study proposes EffNet-SVM, a hybrid deep learning model that combines EfficientNetV2-Small for feature extraction with a Support Vector Machine (SVM) using a Radial Basis Function (RBF) kernel for classification. Transfer learning, model fine-tuning, and image augmentation are employed to improve feature representation, generalization, and classification performance. The hybrid model is compared with standalone EfficientNet and SVM models, as well as eight existing deep learning models.

Dataset: The study uses the APTOS 2019 dataset, containing 3,662 retinal fundus images categorized into five diabetic retinopathy severity levels. For the proposed binary classification task, the images are grouped into two classes: no DR (1,805 images) and DR (1,857 images). All images are resized to 224 × 224 pixels.

Advantages: Combines the feature extraction capabilities of EfficientNetV2-Small with the classification strength of SVM, achieves high accuracy with limited training data, and provides a relatively efficient classification framework. The study also employs Grad-CAM visualizations to examine model predictions.

Limitations: Performance depends on retinal image quality, with uneven illumination, low contrast, noise, and motion blur potentially affecting feature extraction. The model focuses on binary classification rather than grading all five severity levels. Further validation using additional independent datasets is required to establish robustness across different clinical settings.

Results: The proposed EffNet-SVM model achieves 97.26% accuracy, with precision of 96.98%, recall of 97.96%, and an F1-score of 97.46%. It outperforms the standalone modified EfficientNet and SVM models and the eight benchmark deep learning models considered in the study, demonstrating its potential for automated diabetic retinopathy screening.

Efficient Deep Learning Approaches for Processing Ultra-Widefield Retinal Imaging

Siwon Kim, Wooyung Yun, Jeongbin Oh, and Soomok Lee, 2025, arXiv preprint.

Methodology: This study proposes an efficient deep learning framework based on EfficientNet-B0 and ensemble learning for classifying ultra-widefield (UWF) retinal images. The approach uses ImageNet-pretrained EfficientNet-B0 with fine-tuning, a fixed learning rate, and data augmentation to reduce overfitting and enable training in CPU-based environments. Three EfficientNet-B0 models process images using different resizing and center-cropping strategies, and their predictions are combined through soft voting. Preprocessing includes resizing, horizontal and vertical flipping, rotation, color jittering, and normalization.

Dataset: The study uses the UWF4DR Challenge dataset from the MICCAI UWF4DR 2024 Challenge. It addresses two classification tasks: referable diabetic retinopathy (DR) detection and diabetic macular edema (DME) detection. The training dataset contains 202 images for referable DR classification and 168 images for DME classification. Separate validation and test datasets are used for evaluation, with the validation and test sets unavailable to participants during model development.

Advantages: Uses a lightweight architecture with approximately 4 million parameters, enabling efficient training and inference on CPU-based systems. Data augmentation improves robustness to variations in retinal image orientation, lighting, and color. The ensemble combines complementary image representations, improving classification performance while supporting potential deployment in resource-constrained healthcare environments.

Limitations: Combining multiple models increases inference time and computational requirements compared with a single EfficientNet-B0 model. The dataset is relatively small, and the validation and test sets are not publicly accessible to participants, limiting independent reproducibility. Although the approach performs well in the challenge, further work is needed to improve efficiency without relying on ensemble learning.

Results: EfficientNet-B0 achieves a mean AUROC of 0.9961 during backbone selection while using approximately 4 million parameters. The final three-model ensemble achieves an AUROC of 0.9662 for referable DR detection and 0.9584 for DME detection, as reported in Table 4 on page 8. The study secured 9th place in the MICCAI UWF4DR 2024 Challenge, demonstrating that lightweight CNN architectures, strategic augmentation, and ensemble learning can support effective retinal image analysis in resource-limited environments.

Enhancing Early Detection of Diabetic Retinopathy Through the Integration of Deep Learning Models and Explainable Artificial Intelligence

Kazi Ahnaf Alavee et al., 2024, IEEE Access, Volume 12.

Methodology: This study investigates diabetic retinopathy detection using multiple deep learning and machine learning techniques. It evaluates pretrained models, including DenseNet121, Xception, ResNet50, VGG16, VGG19, and InceptionV3, alongside SVM and RNN approaches. A customized CNN is proposed for binary and multiclass classification. Explainable Artificial Intelligence (XAI), particularly Gradient-weighted Class Activation Mapping (Grad-CAM), is incorporated to generate heatmaps highlighting retinal regions influencing model predictions.

Dataset: The study uses fundus images from the Kaggle Diabetic Retinopathy Detection 2015 and APTOS 2019 datasets. It also evaluates the proposed CNN on the MESSIDOR-2 and IDRiD datasets. Image preprocessing and augmentation techniques, including rotation, horizontal and vertical flipping, resampling, and zooming, are used to improve image quality and expand the training dataset to 28,059 images.

Advantages: Compares multiple pretrained architectures and classification techniques, investigates both binary and multiclass classification, and integrates Grad-CAM to improve prediction interpretability. Evaluation on additional datasets provides further evidence of the model's applicability beyond its primary dataset.

Limitations: Class imbalance and limited availability of annotated retinal images remain challenges. Differences in image quality and dataset characteristics can affect model generalization. Although Grad-CAM improves visual interpretability, further validation is necessary to establish the reliability of model predictions in real clinical environments.

Results: The proposed customized CNN achieves 95.27% accuracy on the primary dataset, outperforming the evaluated transfer learning models, including Xception, which achieves 82% accuracy. The paper also reports 93.86% accuracy on MESSIDOR-2 and 91.18% on IDRiD. Grad-CAM heatmaps provide visual insights into the regions influencing the model's predictions.

Enhancing Early-Stage Diabetic Retinopathy Detection Using a Weighted Ensemble of Deep Neural Networks

Kinza Nazir, Jisoo Kim, and Yung-Cheol Byun, 2024, IEEE Access, Volume 12.

Methodology: This study proposes a weighted average ensemble model for diabetic retinopathy classification by combining three deep learning architectures: InceptionV3, VGG16, and a custom-built CNN. The individual models are evaluated, and the three strongest performers are selected to construct the ensemble. Image preprocessing, transfer learning, and data augmentation are applied to improve feature extraction, reduce overfitting, and enhance classification performance, particularly for early-stage DR.

Dataset: The study uses the APTOS 2019 dataset, which contains 3,662 retinal fundus images representing five classes: no DR, mild DR, moderate DR, severe DR, and proliferative DR. Image preprocessing and augmentation techniques are used to improve image quality and increase training data variability.

Advantages: Combines predictions from multiple deep learning architectures to improve classification performance compared with individual models. The weighted ensemble approach leverages complementary feature representations, supports multiclass severity grading, and demonstrates strong discrimination performance through accuracy, precision, recall, F1-score, and AUC metrics.

Limitations: Limited availability of labeled retinal images and class imbalance remain significant challenges, particularly for detecting early-stage DR. The ensemble depends on the performance of its individual models and requires additional computational resources compared with a single network. Further validation on diverse datasets is needed to establish its generalizability across clinical environments.

Results: The proposed weighted ensemble achieves 95.06% accuracy, 87.88% precision, 83.78% recall, an F1-score of 85.69%, and an AUC of 98.10%. The results demonstrate that combining InceptionV3, VGG16, and a custom CNN can improve overall classification performance compared with the individual pretrained models evaluated in the study.

Exploring Deep Learning and Ultra-Widefield Imaging for Diabetic Retinopathy and Macular Edema

Pablo Jimenez-Lizcano et al., 2026, arXiv preprint.

Methodology: This study systematically evaluates state-of-the-art deep learning methods for analyzing Ultra-Widefield (UWF) retinal images across three tasks: image quality assessment, referable diabetic retinopathy (RDR) identification, and diabetic macular edema (DME) detection. It compares Convolutional Neural Networks (CNNs), Vision Transformers (ViTs), and retinal foundation models using RGB and frequency-domain representations. The evaluated architectures include MobileNetV2, ResNet18, ViT-B/16, and RETFound. Feature-level fusion combines representations from multiple models using a Multilayer Perceptron (MLP), while Grad-CAM visualizations improve interpretability.

Dataset: The study uses the publicly available UWF4DR Challenge dataset, released for the MICCAI 2024 conference, containing ultra-widefield retinal images captured using Optos devices. The dataset is divided into training, validation, and test subsets. For image quality assessment, it contains 317 training, 79 validation, and 99 test images. For RDR identification, it includes 161 training, 40 validation, and 50 test images. For DME identification, it includes 136 training, 34 validation, and 42 test images.

Advantages: Evaluates multiple modern deep learning architectures and both spatial and frequency-domain image representations. Feature-level fusion improves robustness by combining complementary model features. Grad-CAM highlights clinically relevant retinal structures, supporting interpretability. The study also demonstrates the potential of UWF imaging to capture peripheral lesions that may be missed by conventional fundus photography.

Limitations: The experiments rely on a single dataset, limiting generalizability across populations and imaging devices. The classification tasks are binary and do not provide detailed DR severity grading. Frequency-domain representations generally perform worse than RGB images, particularly for disease detection, because frequency transformations may obscure local retinal details. Further external validation and prospective clinical evaluation are required.

Results: The RGB-based feature fusion model achieves 96.4% AUROC for image quality assessment, 100% AUROC for referable DR identification, and 96.8% AUROC for DME identification. For DME detection, the fusion model also achieves an AUPRC of 96.9%, while frequency-domain fusion reaches an AUROC of 89.3%. The results, reported in Table II on page 4, demonstrate that RGB representations provide stronger overall performance, while frequency-domain features offer complementary information. The study concludes that combining modern deep learning architectures with feature fusion and Grad-CAM has promising potential for automated retinal screening.

Graph-Aware Multimodal Deep Learning for Classification of Diabetic Retinopathy Images

Amina Zedadra et al., 2025, IEEE Access, Volume 13.

Methodology: This study proposes DRdiag, a multimodal deep learning model that combines a Convolutional Neural Network (CNN) based on DenseNet121 with a Graph Neural Network (GNN). DenseNet121 extracts features from retinal fundus images, while the GNN models relationships between patients using clinical information, particularly the duration of diabetes. An adaptive weight mechanism combines the outputs of both networks to classify diabetic retinopathy. Image preprocessing, normalization, and augmentation are applied to improve generalization.

Dataset: The study evaluates the proposed model using the APTOS 2019 and Messidor-2 datasets. Retinal images are resized to 224 × 224 pixels and normalized. Data augmentation techniques include random rotations, horizontal flipping, contrast adjustments, and Gaussian blurring. The model incorporates the duration of diabetes as an additional patient-specific feature.

Advantages: Integrates retinal image features with clinical information, enabling more comprehensive classification than image-only approaches. The GNN captures relationships between patients, while DenseNet121 extracts detailed visual features. Evaluation on two datasets demonstrates consistently high accuracy, precision, recall, and F1-score.

Limitations: The model considers only one clinical risk factor, the duration of diabetes, without incorporating other influential factors such as age, gender, dyslipidemia, and smoking. The authors propose including additional clinical variables, blood pressure, and glycated hemoglobin measurements in future work to improve classification performance.

Results: DRdiag achieves 97.6% accuracy on Messidor-2 and 98.0% on APTOS 2019. On Messidor-2, it obtains an F1-score of 96.1%, recall of 95.8%, and specificity of 99.0%. On APTOS 2019, it achieves an F1-score of 96.3%, recall of 95.9%, and specificity of 99.5%. The results demonstrate the potential of combining graph-based learning with deep image features for diabetic retinopathy classification.

Many-MobileNet: Multi-Model Augmentation for Robust Retinal Disease Classification

Hao Wang et al., 2024, arXiv preprint.

Methodology: This study proposes Many-MobileNet, a model-fusion framework that combines multiple lightweight nnMobileNet convolutional neural networks to improve retinal image classification and generalization. The architecture incorporates Squeeze-and-Excitation (SE) attention blocks to emphasize relevant retinal features. Three models are trained using different data augmentation and normalization strategies, including two lightweight models with a channel multiplier of 1.0 and one medium-sized model with a multiplier of 3.0. Their predictions are combined using maximum-output or average-output voting to reduce overfitting and improve robustness.

Dataset: The study uses the UWF4DR Challenge dataset, focusing on ultra-widefield retinal image quality assessment. The dataset contains 434 images, comprising 229 gradable and 205 ungradable retinal images. Images are resized to 224 × 224 pixels. The models are evaluated using AUROC, AUPRC, sensitivity, and specificity to measure classification performance.

Advantages: Combines models with different capacities and augmentation strategies to improve generalization on limited medical imaging data. The lightweight nnMobileNet architecture reduces computational costs, while the medium-sized model captures more complex retinal features. Model fusion also reduces dependence on a single model's predictions and helps address overfitting.

Limitations: The dataset is relatively small and lacks sufficient diversity, limiting generalization across different imaging conditions. Model fusion increases inference time compared with a single network. The ensemble also performs worse than the best individual model on the validation set, potentially because of the small and unrepresentative validation sample. The study focuses on image quality assessment rather than directly evaluating DR severity grading.

Results: The proposed Many-MobileNet approach achieves 0.9525 AUROC and 0.9683 AUPRC, with sensitivity of 89.83% and specificity of 92.5% on the official test set. As reported in Table 3 on page 6, the method secures 3rd place in the official challenge ranking, demonstrating the potential of combining lightweight CNNs with diverse augmentation strategies for robust retinal image quality assessment.

Randomization-Driven Hybrid Deep Learning for Diabetic Retinopathy Detection

A. M. Mutawa et al., 2025, IEEE Access, Volume 13.

Methodology: This study introduces a hybrid CNN-RBF classification framework that combines Multi-Scale Discriminative Robust Local Binary Pattern (MS-DRLBP) features with features extracted using a VGG16-based CNN. The approach incorporates randomization-inspired techniques to improve feature selection and classification efficiency. Image preprocessing includes green-channel extraction, contrast enhancement using CLAHE, morphological operations, background exclusion, and Otsu's thresholding for retinal blood vessel segmentation. The extracted features are combined to classify images as normal or abnormal DR.

Dataset: The study uses three publicly available retinal image datasets: STARE, High-Resolution Fundus (HRF), and Fundus Fluorescein Angiography (FFA). The combined dataset contains 190 images, including 90 from STARE, 30 from HRF, and 70 from FFA. Due to the limited number of images per category, the study groups the samples into two classes: normal and abnormal DR. The data are divided into 60% for training and 40% for testing.

Advantages: Combines handcrafted texture features with deep learning representations to improve classification performance. Advanced preprocessing and blood vessel segmentation help highlight important retinal structures. The study also incorporates Local Interpretable Model-Agnostic Explanations (LIME) to improve the interpretability of model predictions and evaluates performance against traditional machine learning classifiers.

Limitations: The combined dataset is relatively small, containing only 190 images, which may limit generalization to broader clinical populations. The binary classification approach does not distinguish between different DR severity levels. Integrating RBF layers into CNN architectures also presents challenges involving nonlinear activations and fixed feature-cluster initialization.

Results: The proposed CNN-RBF model achieves 96.10% accuracy on the combined dataset, with precision of 96.10%, sensitivity of 95.35%, and specificity of 97.06%. Dataset-specific accuracies reach 97.30% on STARE, 91.67% on HRF, and 96.43% on FFA. The model outperforms the traditional machine learning methods evaluated in the study, demonstrating the potential of combining randomized feature selection, texture analysis, and deep learning for automated retinal disease screening.

References

1. A Low-Cost AI-Powered System for Early Detection of Diabetic Retinopathy and Ocular Diseases in Resource Limited Settings — Vohra et al. (2025).Read paper (IEEE DOI)

2. A Novel Transformer Model with Multiple Instance Learning for Diabetic Retinopathy Classification — Yang et al. (2024).Read paper (IEEE DOI)

3. A Synergistic Stacked Ensemble Deep Learning Model for Predicting Diabetic Retinopathy Severity — Salluri et al. (2025).Read paper (IEEE DOI)

4. An Insight on the Timely Diagnosis of Diabetic Retinopathy Using Traditional and AI-Driven Approaches — Asif et al. (2025).Read paper (IEEE DOI)

5. Application of Artificial Intelligence for Classification, Segmentation, Early Detection, Early Diagnosis, and Grading of Diabetic Retinopathy From Fundus Retinal Images: A Comprehensive Review — Rajarajeshwari and Selvi (2024).Read paper (IEEE DOI)

6. Automated Multimodal Severity Assessment of Diabetic Retinopathy Using Ultra-Widefield Color Fundus Photography and Clinical Tabular Data — Rezaei et al. (2026).Read paper (ScienceDirect)

7. Deep Learning Ensemble for Predicting Diabetic Macular Edema Onset Using Ultra-Wide Field Color Fundus Image — Qin et al. (2024).Read paper (arXiv)

8. Deep Learning in Automatic Diabetic Retinopathy Detection and Grading Systems: A Comprehensive Survey and Comparison of Methods — Abushawish et al. (2024).Read paper (IEEE DOI)

9. Detection of Diabetic Retinopathy Using a Multi-Decision Inception-ResNet-Blended Hybrid Model — Henge et al. (2025).Read paper (IEEE DOI)

10. Developing a Transparent Diagnosis Model for Diabetic Retinopathy Using Explainable AI — Shahzad et al. (2024).Read paper (IEEE DOI)

11. Diabetic Retinopathy Classification Using Hybrid Color-Based CLAHE and Blood Vessel in Deep Convolution Neural Network — Kadhim et al. (2024).Read paper (IEEE DOI)

12. Diabetic Retinopathy Classification With Deep Learning via Fundus Images: A Short Survey — Zhu et al. (2024).Read paper (IEEE DOI)

13. EffNet-SVM: A Hybrid Model for Diabetic Retinopathy Classification Using Retinal Fundus Images — Naveen et al. (2025).Read paper (IEEE DOI)

14. Efficient Deep Learning Approaches for Processing Ultra-Widefield Retinal Imaging — Kim et al. (2025).Read paper (arXiv)

15. Enhancing Early Detection of Diabetic Retinopathy Through the Integration of Deep Learning Models and Explainable Artificial Intelligence — Alavee et al. (2024).Read paper (IEEE DOI)

16. Enhancing Early-Stage Diabetic Retinopathy Detection Using a Weighted Ensemble of Deep Neural Networks — Nazir et al. (2024).Read paper (IEEE DOI)

17. Exploring Deep Learning and Ultra-Widefield Imaging for Diabetic Retinopathy and Macular Edema — Jimenez-Lizcano et al. (2026).Read paper (arXiv)

18. Graph-Aware Multimodal Deep Learning for Classification of Diabetic Retinopathy Images — Zedadra et al. (2025).Read paper (IEEE DOI)

19. Many-MobileNet: Multi-Model Augmentation for Robust Retinal Disease Classification — Wang et al. (2024).Read paper (arXiv)

20. Randomization-Driven Hybrid Deep Learning for Diabetic Retinopathy Detection — Mutawa et al. (2025).Read paper (IEEE DOI)